## 079-C-GAD-00002-002-RA-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | MAK | General Comment: All the texts in drawings shall be searchable and in UPPERCASE. Text fonts and styles shall be as per BMPS-A8.
2 | Callout | 1 | A Albalooshi | Please include BMPS-M6 "Fireproofing". Please check the adequacy of using this standard based on the fire risk envelop study
3 | Cloud+ | 1 | MAK | 079 - SPENT CAUSTIC TREATING UNIT