## 372-A-PID-57003-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 1 | alexis.martinez | Review the suction pressure for pumps 372P0032A/B. The pump shall not be operating in vacuum.
2 | Text Box | 1 | Ahmed Marhoon | Refer to comments on sheet 57002-001.
3 | Callout | 1 | Ebrahim.Deyab | Verify the figure, basis on discharge and suction pressure.
4 | Cloud+ | 1 | Mohamed Ayyash | Delete space
5 | Callout | 1 | alexis.martinez | For pumps 372P0032A/B, the data block shall follow the standard BMPS-A8. Correct the data block accordingly.