## 930-A-PPN-00003-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Cloud+ | 1 | MAK | The text height is small. No need to reduce the text otherwise the column width shall be Increased.
2 | Cloud+ | 1 | MAK | Delete
3 | Cloud+ | 1 | MAK | 930 - INTERCONNECTING SYSTEMS - BMP PLANTS
4 | Callout | 1 | Mahdi Ali | REFER TO COMMENT MADE ON 930-A-PPN-00002-001
5 | Cloud+ | 1 | MAK | PIPE RACKS - UNIT 930 INTERCONNECTING SYSTEMS - BMP PLANTS
6 | Cloud+ | 1 | MAK | 0.73611