## 000-H-SOW-70001-001-RAP
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 1 | Mohamed Ayyash | Correct page numbers. Should be 1/5, 2/5....etc
2 | Text Box | 2 | Mahdi Ali | Unit number shall be of 3 digits
3 | Callout | 3 | Mohamed Ayyash | adjust column width to read full word (this applies to all pages)
4 | Text Box | 4 | Mahdi Ali | drawings
5 | Text Box | 5 | Ahmed Marhoon | The above list seems incomplete. Documents like Narrative/flow charts/cause and effect shall be also provided for any control or sequence logic. Contractor to update the above list based on the list of deliverables covered in BMPS specifications such as BMPS-J6.