## 000-E-ITP-70006-001-RAP-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 6 | Ahmed Marhoon | Inspection and Test Plan to include the participation of the client in accordance with the BMP agreed procedures. Loop testing plan to be detailed. Tests related to instrumentation, control and safety to comply with the BMPS J series specifications/instructions. As a minimum, the relevant Checklist as agreed for the BMP shall be referenced in the ITP.
2 | Text Box | 5 | Hasan Asad | Reducer gear is critical and test shall be attended by Owner.
3 | Cloud+ | 2 | Mohamed Ayyash | Page 2/12 MR number is overlapping with table line. Correct for better representation. Apply to all pages