## 000-F-ITP-80004-001-RAP
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout |  | Saeed Taher | Replace T with C for contractor
2 | Callout |  | Saeed Taher | Owner inspection requirement to be added as per BMP standard
3 | Text Box |  | Sankara | High Voltage
4 | Arrow |  | Sankara
5 | Callout |  | Mohamed Ayyash | is it 0150-01 or 015.01 ? like other documents. need to be consistent
6 | Callout |  | Sameer.Ahmed | Indicate "C" on all pages
7 | Callout |  | Sameer.Ahmed | Indicate "O" on all pages
8 | Cloud |  | Mohamed Ayyash
9 | Callout |  | Mohamed Ayyash | not clear need to rewrite
10 | Cloud+ |  | Ahmed Marhoon | Indicate the applicable codes according to the BMPS. e.g. Directive 2014/34/EU for ATEX. Alternatively, instruct suppliers to comply with the applicable sections of the BMPS-J series.
11 | Call-out |  | Ahmed Marhoon | Activities listed for instrumentation, automation and safety systems are generic. A comprehensive list to be generated based on BMPS-J series (e.g. J6). Typical
12 | Callout |  | Mohamed Ayyash | move up
13 | Arrow |  | Mohamed Ayyash
14 | Cloud |  | Mohamed Ayyash
15 | Callout |  | Mohamed Ayyash | which remarks for which activities. Rewite.
16 | Arrow |  | Mohamed Ayyash
17 | Text Box |  | Sankara | Call as HV Motors: Typical comment
18 | Arrow |  | Sankara
19 | Arrow |  | Mohamed Ayyash
20 | Typewritten Text |  | Mohamed Ayyash | move up