## 000-G-MRQ-60001-001-RAP
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | Omran A | Control Systems-data sheets shall be supplied. This shall be reflected on ROC, MOC and SOC
2 | Text Box | 3 | Jong.Ahn | Contractor should include INtools specifications, if required.
3 | Text Box | 3 | Jong.Ahn | pls add "Instrument installation and testing, BMPS-J31
4 | Call-out | 3 | Ali Kadhem | Add: UOP Standard specifications - Electric Motors 7-12 (As it mentioned in the EDP Datasheet)
5 | Call-out | 3 | Ali Kadhem | Add: UOP Project specifications - 533 (As it mentioned in the EDP Datasheet)
6 | Text Box | 3 | Hasan Asad | BMPS-S12
7 | Text Box | 4 | Omran A | General Arrangements &Systems Architectures. This shall be reflected on ROC, MOC and SOC
8 | Call-out | 5 | Rashed Almudahka | ADD BMPS-G-50306 BMPS-G-50307 BMPS-G-50308 BMPS-G-50309 BMPS-K-50412 BMPS-K-50413 BMPS-K-50414 BMPS-K-50415