## 000-S-ITP-70001-001-RA-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 7 | Ahmed Marhoon | Inspection and Test Plan to include the participation of the client in accordance with the BMP agreed procedures. Loop testing plan to be detailed. Tests related to instrumentation, control and safety to comply with the BMPS J series specifications/instructions. As a minimum, the relevant Checklist as agreed for the BMP shall be referenced in the ITP.
2 | Cloud+ | 8 | Mohamed Ayyash | Bottom of page 8 text overlapping. Correct
3 | Callout | 2 | Yousif Ahmadi | NDE Procedures "R"
4 | Callout | 3 | Yousif Ahmadi | add: WPS/PQR/ weld map "R"
5 | Callout | 4 | Yousif Ahmadi | add: WPS/PQR/ weld map "R"
6 | Callout | 6 | Yousif Ahmadi | add: WPS/PQR/ weld map "R"