## 000-S-SOW-80010-001-RAP
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 1 | Julio.Aguilar | Include new package number here
2 | Callout | 2 | BD Mori | with associated CT water treatment facility
3 | Text Box | 2 | Hasan Asad | The new equipment tag numbers to be used.
4 | Callout | 2 | BD Mori | with associated CT water treatment facility
5 | Callout | 2 | balagangadhar.k | 094FA9402
6 | Callout | 4 | Julio.Aguilar | To be included: Material Selection Diagram, MSDs
7 | Callout | 4 | Julio.Aguilar | To be included: Catalyst & Chemical consumption summary
8 | Cloud+ | 5 | Julio.Aguilar | Is this document equivalent to "Sequence and Special Control"?, if it is not, it shall be included.
9 | Callout | 6 | Nalini Mohan | Add Asset Information Sheets for all equipment
10 | Call-out | 6 | Ebrahim | and asset
11 | Text Box | 7 | Hasan Asad | LCCA shall be developed and used for solidification technology selection, capital and 2 years parts, etc. The LCCA shall be for 20 years with proved industry service years.