## 019-E-DAT-00015-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Stamp |  | Raj
2 | Cloud+ |  | A.Jabbar Mahmood | Per BMPS A1, the CW design temperature is 165°F as also indicated in the FEED D/S. Review and confirm.
3 | Cloud+ |  | bapco-user | Tube side Design temp. is 165 as per FEED data-sheet. To check and verify
4 | Text Box |  | Jawad Alawi | Add: SA179
5 | Cloud+ |  | Jawad Alawi | Seamless