## 082-A-BOD-00001-001-RA-bb comme
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Call-out |  | Hasan Al Noaimi | Refinery South Flare
2 | Microsoft Word - Code 3 With Comments |  | Adel
3 | Text Box |  | Julio.Aguilar | There are many acronyms/abbreviations so, acronyms section to be added. This comment shall be considered in the Process Design Basis for all units.
4 | Call-out |  | Salman Jaffer | We may need to mention about other facilities such as C3/C4 Bullets and Horton Spheres and potential of sending LPG to flare. Both have double flare connections
5 | Call-out |  | Hasan Al Noaimi | Refinery South Flare
6 | Line |  | Mohamed Ayyash
7 | Typewritten Text |  | Mohamed Ayyash | identified
8 | Line |  | Mohamed Ayyash
9 | Line |  | Mohamed Ayyash
10 | Typewritten Text |  | Mohamed Ayyash | No.
11 | Typewritten Text |  | Mohamed Ayyash | No.
12 | Arrow |  | Mohamed Ayyash
13 | Typewritten Text |  | Mohamed Ayyash | facility
14 | Arrow |  | Mohamed Ayyash
15 | Line |  | Mohamed Ayyash
16 | Typewritten Text |  | Mohamed Ayyash | No.
17 | Callout |  | Julio.Aguilar | Refinery South Flare
18 | Call-out |  | Nalini Mohan | Will there be releases from N2 plant? N2 block flow diagram includes connection to 1Flare
19 | Callout |  | BD Mori | to all units
20 | Call-out |  | Hasan Al Noaimi | General power failure
21 | Typewritten Text |  | Mohamed Ayyash | add space
22 | Arrow |  | Mohamed Ayyash
23 | Arrow |  | Mohamed Ayyash
24 | Arrow |  | Mohamed Ayyash
25 | Typewritten Text |  | Mohamed Ayyash | conditions.
26 | Arrow |  | Mohamed Ayyash
27 | Typewritten Text |  | Mohamed Ayyash | the
28 | Line |  | Mohamed Ayyash
29 | Typewritten Text |  | Mohamed Ayyash | largest
30 | Arrow |  | Mohamed Ayyash
31 | Typewritten Text |  | Mohamed Ayyash | add space
32 | Line |  | Mohamed Ayyash
33 | Typewritten Text |  | Mohamed Ayyash | and
34 | Callout |  | BD Mori | C3/C4 storage ( at refinery ) and No. 10 and 11 HP Boilers are not included in this. Any reason?
35 | Callout |  | Sameer.Ahmed | For No. 10 & 11 HP boiler, relief from Fuel Gas KO Drum RVs which will be routed to the flare is due to fire case scenario and not power failure case.
36 | Call-out |  | Ali Abbas | does it includes header purges flow rate?
37 | Callout |  | rob.urban | Basis for all load numbers in the table needs to be clarified. To be added as appendix
38 | Arrow |  | rob.urban
39 | Arrow |  | rob.urban
40 | Callout |  | BD Mori | Vessel number to be corrected to V8202
41 | Callout |  | BD Mori | One flare seal drum is provided. How about maintenance and inspection of this vessel?
42 | Call-out |  | Hasan Al Noaimi | To be called Refinery South Flare
43 | Callout |  | rob.urban | This is too conservative and leads to a larger flare line than required. Do not go lower than 50% for new units
44 | Text Box |  | rob.urban | No equipment connected to flare shall be designed lower than 50 psig
45 | Arrow |  | rob.urban
46 | Arrow |  | Mohamed Ayyash
47 | Typewritten Text |  | Mohamed Ayyash | add space
48 | Line |  | Mohamed Ayyash
49 | Typewritten Text |  | Mohamed Ayyash | psig
50 | Arrow |  | Mohamed Ayyash
51 | Line |  | Mohamed Ayyash
52 | Typewritten Text |  | Mohamed Ayyash | of
53 | Cloud |  | Julio.Aguilar
54 | Callout |  | Julio.Aguilar | BMPS A19, page 24, mentions: " Total purge gas rates should maintain a velocity of 0.1 ft/sec (0.03 m/s) in the process unit main flare header". EPC to review and confirm.
55 | Typewritten Text |  | Mohamed Ayyash | The
56 | Arrow |  | Mohamed Ayyash
57 | Arrow |  | Mohamed Ayyash
58 | Typewritten Text |  | Mohamed Ayyash | is
59 | Call-out |  | Hasan Al Noaimi
60 | Call-out |  | Hasan Al Noaimi | Delete BMP
61 | Call-out |  | Hasan Al Noaimi
62 | Call-out |  | Ali Abbas | Local panel if provided by the package supplier to be fed from UPS power for any specific measuring and control. To be further reviewed once detailed are provided.
63 | Typewritten Text |  | Mohamed Ayyash | New sentence
64 | Arrow |  | Mohamed Ayyash
65 | Typewritten Text |  | Mohamed Ayyash | make
66 | Call-out |  | Hasan Al Noaimi | delete 1
67 | Line |  | Julio.Aguilar
68 | Arrow |  | Mohamed Ayyash
69 | Typewritten Text |  | Mohamed Ayyash | There is no paragraph 3.1 ?
70 | Line |  | Mohamed Ayyash
71 | Typewritten Text |  | Mohamed Ayyash | FED
72 | Arrow |  | Mohamed Ayyash
73 | Line |  | Mohamed Ayyash
74 | Line |  | Mohamed Ayyash
75 | Arrow |  | Mohamed Ayyash
76 | Typewritten Text |  | Mohamed Ayyash | re-
77 | Arrow |  | Mohamed Ayyash
78 | Typewritten Text |  | Mohamed Ayyash | add space
79 | Line |  | Mohamed Ayyash
80 | Arrow |  | Mohamed Ayyash
81 | Typewritten Text |  | Mohamed Ayyash | i.e.
82 | Line |  | Mohamed Ayyash
83 | Arrow |  | Mohamed Ayyash
84 | Typewritten Text |  | Mohamed Ayyash | of
85 | Callout |  | Julio.Aguilar | Refinery South Flare
86 | Line |  | Julio.Aguilar
87 | Cloud |  | Julio.Aguilar
88 | Highlight |  | Julio.Aguilar
89 | Callout |  | Julio.Aguilar | This is an statement from FEED, so now is EPC phase. The figure 6.5 psig is to be confirmed by EPC Contractor and this statement is to be removed.
90 | Line |  | Mohamed Ayyash
91 | Typewritten Text |  | Mohamed Ayyash | No.
92 | Typewritten Text |  | Mohamed Ayyash | conditions
93 | Arrow |  | Mohamed Ayyash
94 | Arc |  | Mohamed Ayyash
95 | Arrow |  | Mohamed Ayyash
96 | Typewritten Text |  | Mohamed Ayyash | move sentence
97 | Callout |  | Julio.Aguilar | There is no paragraph 3.1. Review and fix.
98 | Call-out |  | Salman Jaffer | Per BMPS-A19 Clause 4.8 and 4.8.1: Flare tip shall be designed to burn smokeless (Ringlemann value of one or less) from 0 to 20 percent of total flare capacity. Please confirm
99 | Text Box |  | Salman Jaffer
100 | Text Box |  | rob.urban | General considerations to reduce flare size: Consider increasing design pressure of (large) columns which are a bottleneck from 50 to 60 psig. This can often be done without significant cost implications and increases the allowable backpressure which could reduce flare line size. Do not go lower than the 50% allowable back pressure for balanced bellows PSV's. (When the power failure case is not governing and additional PSV orifice area is available these PSV's can handle back pressures up to 70-75%). Investigate if automatic shut down (SIL2) of motive steam can eliminate the load from Vacuum Columns during power failure