## 085-A-PID-00024-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | alexis.martinez | Add the fnges at the inlet and outlet of each PIT as it is shown on P&ID 085-A-PID-00026-002.