## 085-L-PPN-00001-002-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 |  | 1 | AutoCAD SHX Text | - C/Arapiles 14, Madrid, Spain
2 | Callout | 1 | Berik.Nurbolatov | BuildingS? Please highlight designation of the building/unit.
3 | Text Box | 1 | Erwin.Lugue | corresponds
4 | Text Box | 1 | Antony.Bentley | NOTE: PLOT PLAN MODIFICATION CANNOT BE ACCEPTED WITHOUT FULL PLOT PLAN EVALUATION EXERCISE - SEE RESPONSE TO R-TCQ-00001
5 | Callout | 1 | Berik.Nurbolatov | Please advise the designation/name of the sections if differ from the main title(substation)
6 | Callout | 1 | Berik.Nurbolatov | Please mention HPP EL. relative to the site datum.
7 | Callout | 1 | Berik.Nurbolatov | Plot plans shall be dimensioned in metric units (mm) of linear measurement (refer BMPS A8 ‘General guidelines of Plot plan layout Part B Appendix B1
8 | Text Box | 1 | Erwin.Lugue | relative
9 | Text Box | 1 | Erwin.Lugue | relative
10 |  | 1 | AutoCAD SHX Text | The present document or drawing is property of TECHNIP ITALY S.p.A. and shall not, under any circumstances, be totally or partially, directly or indirectly, transferred, reproduced, copied, disclosed or used, without its prior written consent, for any purpose and in any way other than that for which it is specifically furnished or outside the extent of the agreed upon right of use.